**ADDENDUM NUMBER 1**

**SB / BB Plaza Drainpipe REplacement**

**Coastal Carolina University**

**Project Number H17-N128-MJ**

**May 17, 2021**

The following changes, modifications, and/or clarifications to the contract documents are a part thereof, and change the original documents only in the manner and to the extent stated.

1. Bidders are reminded to comply with all requirements for bidding as enumerated in the project manual, INCLUDING ACKNOWLEDGEMENT OF THE RECEIPT OF THIS ADDENDUM ON THE SE-330 BID FORM.
2. Question: Can we get the detail for the footers of the buildings on each side of the pipe?

See attached detail – Section 2 / S302 for footing detail of both SB and BB

1. Can we get the footer detail for the baseball light? See preliminary drawing from MUSCO Lighting that was used for the stadium lights at baseball.
2. Are we going to be able to trim the oak trees to get the pile installed? Yes – we’ll need to coordinate with CCU grounds and City of Conway Arborist before trimming any oak tree.
3. Concrete collars shall be placed at each end / pipe connection, not at each joint.
4. The bid documents call for 45 days to complete the project. The University intends to sign the Notice of Intent to Award and have AIA contracts signed ASAP in order to start submittal and approval process. The University will coordinate the Notice to Proceed with availability and delivery of materials.

**END OF ADDENDUM NUMBER ONE**